## Feuil1
Software Version | 2.06.10
Experiment File Path: | C:\Users\CBS\Documents\experiment\iGEM\Ecoli_SHERLOCK.xpt
Protocol File Path:
Plate Number | Plate 1
Date | 2022-09-30
Time | 12:38
Reader Type: | Cytation3
Reader Serial Number: | 14102110
Reading Type | Reader
Procedure Details
Plate Type | Corning 384 well black clear bottom
Set Temperature | Setpoint 37°C
Preheat before moving to next step
Start Kinetic | Runtime 8:00:00 (HH:MM:SS), Interval 0:13:00, 37 Reads
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 497, Emission: 528
Optics: Top, Gain: 70
Filter Set 2
Excitation: 497, Emission: 528
Optics: Top, Gain: 50
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 9,5 mm
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 497, Emission: 528
Optics: Top, Gain: 100
Filter Set 2
Excitation: 497, Emission: 528
Optics: Top, Gain: 75
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 9,5 mm
End Kinetic
Set Temperature | Incubator off
Layout
Read 1:497,528
| Time | T° Read 1:497,528 | F12 | F13 | F14 | G12 | G13 | G14 | H12 | H13 | H14 | I12 | I13 | I14 | J12 | J13 | J14 | K12 | K13 | K14 | L12 | L13 | L14 | M12 | M13 | M14 | N12 | N13 | N14 | N15 | N16 | N17
| 0:00 | 37 | 345 | 338 | 377 | 350 | 406 | 357 | 376 | 336 | 438 | 706 | 363 | 572 | 295 | 308 | 384 | 327 | 428 | 399 | 278 | 331 | 376 | 409 | 400 | 384 | 356 | 369 | 406 | 0 | 0 | 0
| 0:13 | 37 | 618 | 608 | 572 | 663 | 740 | 684 | 859 | 791 | 919 | 1723 | 943 | 1359 | 353 | 300 | 425 | 296 | 404 | 394 | 338 | 383 | 379 | 403 | 389 | 396 | 334 | 334 | 395 | 0 | 0 | 0
| 0:26 | 36.9 | 1014 | 958 | 939 | 1085 | 1190 | 1132 | 1064 | 1002 | 1135 | 2029 | 1127 | 1526 | 420 | 356 | 509 | 293 | 404 | 392 | 480 | 523 | 517 | 434 | 414 | 424 | 338 | 348 | 388 | 0 | 0 | 0
| 0:39 | 37 | 1188 | 1141 | 1140 | 1254 | 1446 | 1331 | 1273 | 1189 | 1287 | 2229 | 1254 | 1693 | 464 | 393 | 561 | 305 | 405 | 415 | 676 | 705 | 711 | 463 | 493 | 480 | 338 | 339 | 392 | 0 | 0 | 0
| 0:52 | 37 | 1370 | 1294 | 1318 | 1433 | 1614 | 1509 | 1494 | 1389 | 1618 | 2371 | 1385 | 1790 | 523 | 412 | 631 | 301 | 426 | 408 | 876 | 904 | 908 | 540 | 574 | 533 | 352 | 346 | 389 | 0 | 0 | 0
| 1:05 | 37 | 1504 | 1450 | 1430 | 1609 | 1821 | 1662 | 1925 | 1823 | 2312 | 2567 | 1540 | 1950 | 578 | 459 | 681 | 326 | 434 | 416 | 1017 | 1079 | 1117 | 576 | 659 | 582 | 360 | 343 | 395 | 0 | 0 | 0
| 1:18 | 37 | 1702 | 1706 | 1507 | 1884 | 2164 | 1866 | 2550 | 2381 | 2933 | 2743 | 1784 | 2114 | 638 | 480 | 749 | 322 | 445 | 428 | 1215 | 1254 | 1333 | 655 | 775 | 689 | 350 | 344 | 400 | 0 | 0 | 0
| 1:31 | 37 | 2262 | 2201 | 1695 | 2405 | 2728 | 2479 | 2667 | 2515 | 2922 | 3000 | 2139 | 2459 | 705 | 540 | 825 | 360 | 484 | 468 | 1614 | 1558 | 1707 | 885 | 1033 | 859 | 360 | 361 | 397 | 0 | 0 | 0
| 1:44 | 37 | 2709 | 2467 | 1814 | 2621 | 2942 | 2782 | 2666 | 2469 | 2922 | 3458 | 2343 | 2632 | 750 | 602 | 935 | 375 | 549 | 487 | 1884 | 1948 | 2031 | 1157 | 1339 | 1035 | 370 | 352 | 405 | 0 | 0 | 0
| 1:57 | 37 | 2757 | 2497 | 1872 | 2601 | 2949 | 2833 | 2659 | 2499 | 2931 | 3838 | 2387 | 2699 | 814 | 629 | 1014 | 418 | 600 | 542 | 2086 | 2253 | 2345 | 1407 | 1571 | 1240 | 369 | 359 | 410 | 0 | 0 | 0
| 2:10 | 37 | 2813 | 2436 | 1978 | 2578 | 2965 | 2853 | 2659 | 2475 | 2932 | 3943 | 2374 | 2637 | 874 | 682 | 1074 | 436 | 677 | 584 | 2166 | 2325 | 2417 | 1622 | 1780 | 1472 | 375 | 352 | 413 | 0 | 0 | 0
| 2:23 | 37 | 2785 | 2480 | 2001 | 2570 | 2976 | 2849 | 2694 | 2513 | 2940 | 3960 | 2403 | 2643 | 904 | 707 | 1132 | 461 | 759 | 638 | 2143 | 2377 | 2521 | 1751 | 1909 | 1593 | 370 | 381 | 404 | 0 | 0 | 0
| 2:36 | 37 | 2769 | 2428 | 2028 | 2585 | 2919 | 2844 | 2664 | 2483 | 2891 | 3968 | 2405 | 2686 | 934 | 759 | 1207 | 491 | 818 | 698 | 2173 | 2343 | 2460 | 1870 | 2030 | 1757 | 383 | 373 | 416 | 0 | 0 | 0
| 2:49 | 37 | 2745 | 2430 | 2084 | 2596 | 2952 | 2847 | 2679 | 2467 | 2921 | 3952 | 2408 | 2660 | 919 | 776 | 1261 | 528 | 873 | 727 | 2173 | 2325 | 2528 | 1966 | 2149 | 1866 | 377 | 370 | 416 | 0 | 0 | 0
| 3:02 | 37 | 2773 | 2443 | 2097 | 2585 | 2934 | 2808 | 2657 | 2468 | 2900 | 3905 | 2390 | 2673 | 963 | 785 | 1273 | 557 | 943 | 792 | 2135 | 2343 | 2503 | 2035 | 2197 | 1938 | 394 | 378 | 431 | 0 | 0 | 0
| 3:15 | 37 | 2738 | 2364 | 2119 | 2566 | 2929 | 2764 | 2669 | 2520 | 2868 | 3909 | 2379 | 2619 | 991 | 818 | 1302 | 585 | 991 | 846 | 2155 | 2333 | 2494 | 2079 | 2214 | 2059 | 405 | 379 | 426 | 0 | 0 | 0
| 3:28 | 37 | 2734 | 2386 | 2151 | 2586 | 2893 | 2770 | 2635 | 2456 | 2885 | 3913 | 2385 | 2599 | 1018 | 833 | 1368 | 618 | 1019 | 894 | 2142 | 2317 | 2466 | 2143 | 2318 | 2109 | 404 | 395 | 440 | 0 | 0 | 0
| 3:41 | 37 | 2708 | 2331 | 2152 | 2551 | 2890 | 2800 | 2663 | 2420 | 2878 | 3929 | 2381 | 2634 | 1030 | 854 | 1366 | 623 | 1079 | 917 | 2102 | 2334 | 2465 | 2168 | 2324 | 2156 | 406 | 403 | 443 | 0 | 0 | 0
| 3:54 | 37 | 2704 | 2346 | 2142 | 2515 | 2913 | 2775 | 2651 | 2467 | 2883 | 3917 | 2363 | 2647 | 1035 | 857 | 1406 | 658 | 1115 | 989 | 2127 | 2328 | 2460 | 2190 | 2421 | 2228 | 436 | 412 | 438 | 0 | 0 | 0
| 4:07 | 37 | 2712 | 2345 | 2173 | 2559 | 2913 | 2798 | 2600 | 2447 | 2861 | 3909 | 2387 | 2654 | 1094 | 871 | 1424 | 697 | 1133 | 1012 | 2103 | 2320 | 2487 | 2207 | 2399 | 2218 | 430 | 409 | 445 | 0 | 0 | 0
| 4:20 | 37 | 2727 | 2304 | 2209 | 2564 | 2856 | 2759 | 2639 | 2436 | 2841 | 3915 | 2364 | 2636 | 1093 | 888 | 1430 | 716 | 1186 | 1056 | 2124 | 2305 | 2499 | 2255 | 2461 | 2276 | 431 | 417 | 464 | 0 | 0 | 0
| 4:33 | 37 | 2689 | 2304 | 2269 | 2571 | 2887 | 2804 | 2656 | 2473 | 2845 | 3870 | 2374 | 2613 | 1088 | 902 | 1450 | 737 | 1213 | 1083 | 2062 | 2296 | 2493 | 2266 | 2489 | 2296 | 437 | 432 | 456 | 0 | 0 | 0
| 4:46 | 37 | 2715 | 2294 | 2230 | 2599 | 2864 | 2795 | 2654 | 2484 | 2885 | 3890 | 2363 | 2635 | 1131 | 922 | 1506 | 779 | 1237 | 1124 | 2073 | 2266 | 2488 | 2259 | 2460 | 2320 | 455 | 433 | 477 | 0 | 0 | 0
| 4:59 | 37 | 2709 | 2260 | 2224 | 2531 | 2873 | 2759 | 2662 | 2426 | 2877 | 3937 | 2378 | 2613 | 1117 | 958 | 1499 | 771 | 1278 | 1162 | 2022 | 2262 | 2473 | 2255 | 2554 | 2318 | 430 | 452 | 476 | 0 | 0 | 0
| 5:12 | 37 | 2712 | 2230 | 2222 | 2529 | 2874 | 2755 | 2669 | 2470 | 2845 | 3877 | 2352 | 2616 | 1165 | 951 | 1532 | 808 | 1287 | 1200 | 2044 | 2255 | 2473 | 2314 | 2543 | 2354 | 467 | 464 | 467 | 0 | 0 | 0
| 5:25 | 37 | 2691 | 2211 | 2246 | 2565 | 2838 | 2810 | 2647 | 2445 | 2868 | 3906 | 2394 | 2630 | 1159 | 968 | 1567 | 829 | 1320 | 1232 | 2046 | 2231 | 2470 | 2277 | 2508 | 2349 | 461 | 455 | 472 | 0 | 0 | 0
| 5:38 | 37 | 2707 | 2211 | 2242 | 2513 | 2835 | 2805 | 2642 | 2459 | 2874 | 3914 | 2354 | 2577 | 1153 | 978 | 1583 | 854 | 1360 | 1249 | 2031 | 2265 | 2479 | 2302 | 2535 | 2395 | 478 | 473 | 495 | 0 | 0 | 0
| 5:51 | 37 | 2664 | 2208 | 2245 | 2542 | 2833 | 2766 | 2647 | 2426 | 2883 | 3867 | 2341 | 2605 | 1178 | 1001 | 1600 | 869 | 1355 | 1300 | 1985 | 2188 | 2460 | 2332 | 2562 | 2385 | 480 | 478 | 490 | 0 | 0 | 0
| 6:04 | 37 | 2657 | 2184 | 2301 | 2560 | 2836 | 2754 | 2640 | 2441 | 2851 | 3893 | 2356 | 2577 | 1187 | 1010 | 1595 | 883 | 1397 | 1308 | 2027 | 2206 | 2491 | 2294 | 2581 | 2401 | 477 | 485 | 503 | 0 | 0 | 0
| 6:17 | 37 | 2645 | 2174 | 2261 | 2570 | 2837 | 2776 | 2652 | 2448 | 2867 | 3829 | 2371 | 2615 | 1215 | 1005 | 1635 | 909 | 1399 | 1326 | 1974 | 2222 | 2462 | 2338 | 2598 | 2391 | 489 | 516 | 517 | 0 | 0 | 0
| 6:30 | 37 | 2647 | 2186 | 2278 | 2547 | 2817 | 2756 | 2674 | 2484 | 2847 | 3871 | 2352 | 2617 | 1240 | 1022 | 1645 | 930 | 1406 | 1390 | 1985 | 2171 | 2489 | 2323 | 2581 | 2404 | 507 | 513 | 528 | 0 | 0 | 0
| 6:43 | 37 | 2677 | 2188 | 2343 | 2541 | 2827 | 2785 | 2674 | 2443 | 2826 | 3858 | 2368 | 2619 | 1240 | 1038 | 1679 | 943 | 1444 | 1419 | 1975 | 2179 | 2452 | 2316 | 2602 | 2383 | 512 | 515 | 530 | 0 | 0 | 0
| 6:56 | 37 | 2658 | 2136 | 2261 | 2533 | 2787 | 2784 | 2682 | 2452 | 2837 | 3854 | 2364 | 2595 | 1248 | 1061 | 1662 | 954 | 1455 | 1416 | 1971 | 2175 | 2445 | 2314 | 2592 | 2425 | 524 | 545 | 540 | 0 | 0 | 0
| 7:09 | 37 | 2702 | 2140 | 2267 | 2566 | 2799 | 2742 | 2666 | 2450 | 2872 | 3842 | 2380 | 2595 | 1279 | 1069 | 1714 | 985 | 1467 | 1450 | 1945 | 2133 | 2448 | 2294 | 2620 | 2398 | 524 | 546 | 542 | 0 | 0 | 0
| 7:22 | 37 | 2659 | 2098 | 2264 | 2554 | 2783 | 2738 | 2664 | 2419 | 2842 | 3860 | 2367 | 2612 | 1270 | 1050 | 1730 | 986 | 1460 | 1475 | 1976 | 2133 | 2507 | 2311 | 2597 | 2394 | 529 | 553 | 556 | 0 | 0 | 0
| 7:35 | 37 | 2634 | 2110 | 2288 | 2532 | 2803 | 2752 | 2660 | 2427 | 2864 | 3841 | 2367 | 2621 | 1298 | 1068 | 1730 | 982 | 1498 | 1511 | 1971 | 2139 | 2467 | 2291 | 2614 | 2421 | 545 | 563 | 552 | 0 | 0 | 0
| 7:48 | 37 | 2639 | 2121 | 2285 | 2563 | 2765 | 2741 | 2650 | 2448 | 2844 | 3842 | 2396 | 2608 | 1283 | 1096 | 1735 | 1020 | 1514 | 1564 | 1945 | 2126 | 2496 | 2273 | 2625 | 2356 | 547 | 569 | 575 | 0 | 0 | 0
Read 1:497,528[2]
| Time | T° Read 1:497,528[2] | F12 | F13 | F14 | G12 | G13 | G14 | H12 | H13 | H14 | I12 | I13 | I14 | J12 | J13 | J14 | K12 | K13 | K14 | L12 | L13 | L14 | M12 | M13 | M14 | N12 | N13 | N14 | N15 | N16 | N17
| 0:03 | 37 | 29 | 40 | 34 | 34 | 35 | 34 | 45 | 44 | 51 | 82 | 43 | 73 | 28 | 31 | 41 | 20 | 33 | 44 | 25 | 31 | 30 | 35 | 30 | 36 | 22 | 29 | 35 | 0 | 0 | 0
| 0:16 | 37 | 62 | 61 | 54 | 64 | 69 | 66 | 83 | 75 | 83 | 163 | 91 | 117 | 31 | 24 | 36 | 31 | 40 | 35 | 28 | 40 | 35 | 33 | 37 | 33 | 31 | 29 | 31 | 0 | 0 | 0
| 0:29 | 36.9 | 88 | 90 | 79 | 90 | 107 | 97 | 97 | 87 | 99 | 172 | 97 | 131 | 35 | 25 | 52 | 40 | 32 | 31 | 46 | 44 | 59 | 44 | 39 | 37 | 31 | 32 | 41 | 0 | 0 | 0
| 0:42 | 37 | 113 | 99 | 103 | 109 | 124 | 110 | 111 | 105 | 112 | 183 | 107 | 145 | 39 | 35 | 68 | 27 | 41 | 29 | 46 | 67 | 73 | 39 | 42 | 37 | 28 | 30 | 35 | 0 | 0 | 0
| 0:55 | 37 | 126 | 106 | 111 | 120 | 140 | 135 | 134 | 120 | 140 | 199 | 121 | 155 | 40 | 45 | 52 | 27 | 35 | 34 | 75 | 80 | 80 | 45 | 47 | 50 | 31 | 28 | 34 | 0 | 0 | 0
| 1:08 | 37 | 132 | 124 | 125 | 140 | 156 | 142 | 174 | 166 | 208 | 218 | 134 | 163 | 48 | 36 | 59 | 27 | 35 | 39 | 91 | 91 | 97 | 53 | 58 | 53 | 32 | 31 | 33 | 0 | 0 | 0
| 1:21 | 37 | 155 | 147 | 121 | 185 | 196 | 182 | 223 | 202 | 240 | 240 | 159 | 184 | 59 | 33 | 59 | 28 | 48 | 35 | 107 | 113 | 119 | 62 | 71 | 65 | 37 | 31 | 40 | 0 | 0 | 0
| 1:34 | 37 | 192 | 202 | 147 | 210 | 240 | 213 | 228 | 206 | 240 | 262 | 190 | 206 | 72 | 44 | 75 | 33 | 43 | 42 | 143 | 143 | 152 | 89 | 96 | 73 | 43 | 30 | 31 | 0 | 0 | 0
| 1:47 | 37 | 234 | 210 | 151 | 220 | 243 | 234 | 224 | 207 | 244 | 308 | 203 | 225 | 65 | 50 | 86 | 26 | 45 | 38 | 173 | 172 | 179 | 101 | 123 | 94 | 31 | 29 | 31 | 0 | 0 | 0
| 2:00 | 37 | 240 | 208 | 155 | 218 | 247 | 238 | 227 | 218 | 244 | 316 | 200 | 225 | 74 | 51 | 86 | 23 | 49 | 44 | 171 | 188 | 197 | 125 | 133 | 109 | 32 | 29 | 36 | 0 | 0 | 0
| 2:13 | 37 | 230 | 203 | 168 | 213 | 249 | 242 | 232 | 203 | 247 | 330 | 204 | 221 | 74 | 59 | 92 | 44 | 63 | 49 | 184 | 200 | 201 | 136 | 156 | 125 | 34 | 28 | 38 | 0 | 0 | 0
| 2:26 | 37 | 231 | 208 | 167 | 217 | 251 | 235 | 225 | 207 | 247 | 338 | 205 | 215 | 81 | 60 | 88 | 26 | 65 | 61 | 180 | 205 | 207 | 151 | 174 | 136 | 24 | 26 | 32 | 0 | 0 | 0
| 2:39 | 37 | 234 | 214 | 166 | 215 | 244 | 237 | 224 | 206 | 240 | 328 | 198 | 221 | 78 | 66 | 96 | 42 | 75 | 60 | 180 | 203 | 208 | 159 | 176 | 149 | 33 | 46 | 37 | 0 | 0 | 0
| 2:52 | 37 | 232 | 208 | 172 | 217 | 245 | 236 | 234 | 211 | 245 | 330 | 203 | 219 | 74 | 63 | 102 | 48 | 75 | 61 | 178 | 200 | 209 | 162 | 179 | 159 | 29 | 40 | 37 | 0 | 0 | 0
| 3:05 | 37 | 235 | 210 | 181 | 220 | 246 | 240 | 225 | 207 | 245 | 329 | 189 | 233 | 84 | 55 | 103 | 44 | 78 | 70 | 168 | 198 | 207 | 183 | 187 | 170 | 35 | 31 | 28 | 0 | 0 | 0
| 3:18 | 37 | 241 | 195 | 184 | 230 | 242 | 235 | 219 | 215 | 242 | 339 | 202 | 218 | 83 | 76 | 113 | 40 | 78 | 74 | 169 | 200 | 210 | 178 | 194 | 174 | 29 | 33 | 34 | 0 | 0 | 0
| 3:31 | 37 | 224 | 202 | 185 | 215 | 246 | 234 | 223 | 207 | 240 | 327 | 196 | 227 | 81 | 67 | 119 | 50 | 89 | 74 | 180 | 198 | 209 | 186 | 193 | 179 | 34 | 35 | 41 | 0 | 0 | 0
| 3:44 | 37 | 236 | 198 | 191 | 219 | 248 | 241 | 226 | 211 | 249 | 326 | 198 | 220 | 94 | 67 | 113 | 55 | 91 | 83 | 174 | 192 | 210 | 187 | 199 | 196 | 37 | 34 | 35 | 0 | 0 | 0
| 3:57 | 37 | 234 | 198 | 184 | 219 | 240 | 226 | 225 | 204 | 243 | 330 | 191 | 219 | 87 | 75 | 115 | 67 | 96 | 82 | 176 | 197 | 211 | 178 | 204 | 193 | 27 | 38 | 34 | 0 | 0 | 0
| 4:10 | 37 | 227 | 196 | 190 | 214 | 240 | 237 | 230 | 203 | 232 | 323 | 200 | 219 | 89 | 75 | 116 | 63 | 102 | 89 | 182 | 193 | 208 | 190 | 203 | 204 | 41 | 40 | 40 | 0 | 0 | 0
| 4:23 | 37 | 227 | 195 | 185 | 214 | 242 | 239 | 226 | 197 | 243 | 331 | 200 | 217 | 87 | 81 | 121 | 59 | 101 | 94 | 180 | 198 | 218 | 190 | 222 | 190 | 41 | 32 | 40 | 0 | 0 | 0
| 4:36 | 37 | 233 | 188 | 187 | 209 | 244 | 233 | 225 | 216 | 222 | 333 | 202 | 215 | 93 | 75 | 124 | 70 | 106 | 92 | 184 | 196 | 208 | 195 | 207 | 193 | 37 | 36 | 31 | 0 | 0 | 0
| 4:49 | 37 | 233 | 189 | 188 | 211 | 243 | 243 | 231 | 197 | 243 | 330 | 198 | 220 | 99 | 74 | 125 | 66 | 104 | 98 | 180 | 190 | 207 | 192 | 214 | 203 | 38 | 41 | 43 | 0 | 0 | 0
| 5:02 | 37 | 241 | 190 | 191 | 217 | 234 | 230 | 223 | 204 | 237 | 322 | 201 | 219 | 99 | 78 | 132 | 67 | 103 | 99 | 182 | 190 | 211 | 194 | 209 | 195 | 41 | 34 | 39 | 0 | 0 | 0
| 5:15 | 37 | 225 | 190 | 178 | 209 | 239 | 238 | 224 | 205 | 243 | 326 | 196 | 217 | 93 | 88 | 135 | 62 | 106 | 112 | 177 | 187 | 211 | 193 | 211 | 203 | 39 | 35 | 39 | 0 | 0 | 0
| 5:28 | 37 | 227 | 184 | 189 | 210 | 236 | 227 | 225 | 204 | 238 | 328 | 197 | 223 | 100 | 82 | 131 | 73 | 117 | 102 | 171 | 185 | 210 | 196 | 212 | 199 | 38 | 49 | 41 | 0 | 0 | 0
| 5:41 | 37 | 229 | 188 | 199 | 212 | 247 | 239 | 221 | 200 | 236 | 324 | 209 | 214 | 90 | 87 | 138 | 75 | 121 | 106 | 171 | 182 | 206 | 193 | 218 | 200 | 31 | 46 | 41 | 0 | 0 | 0
| 5:54 | 37 | 219 | 182 | 199 | 212 | 235 | 234 | 228 | 207 | 245 | 335 | 201 | 222 | 98 | 83 | 139 | 80 | 116 | 109 | 165 | 195 | 209 | 195 | 218 | 200 | 38 | 35 | 41 | 0 | 0 | 0
| 6:07 | 37 | 234 | 181 | 186 | 215 | 238 | 225 | 220 | 203 | 238 | 322 | 203 | 220 | 103 | 88 | 133 | 85 | 118 | 115 | 172 | 184 | 200 | 194 | 219 | 199 | 41 | 40 | 36 | 0 | 0 | 0
| 6:20 | 37 | 220 | 181 | 189 | 214 | 236 | 235 | 225 | 204 | 240 | 325 | 201 | 215 | 100 | 87 | 139 | 76 | 117 | 131 | 175 | 186 | 210 | 188 | 214 | 194 | 41 | 42 | 43 | 0 | 0 | 0
| 6:33 | 37 | 221 | 177 | 188 | 217 | 242 | 235 | 225 | 200 | 242 | 322 | 201 | 220 | 104 | 86 | 141 | 80 | 131 | 114 | 173 | 186 | 210 | 196 | 223 | 204 | 32 | 40 | 45 | 0 | 0 | 0
| 6:46 | 37 | 232 | 182 | 194 | 212 | 236 | 236 | 220 | 202 | 239 | 321 | 198 | 218 | 111 | 83 | 144 | 77 | 118 | 115 | 166 | 187 | 222 | 197 | 211 | 204 | 44 | 43 | 50 | 0 | 0 | 0
| 6:59 | 37 | 224 | 173 | 176 | 217 | 238 | 231 | 216 | 210 | 241 | 321 | 199 | 225 | 106 | 102 | 144 | 90 | 126 | 128 | 167 | 186 | 205 | 197 | 225 | 203 | 40 | 46 | 45 | 0 | 0 | 0
| 7:12 | 37 | 230 | 178 | 193 | 212 | 244 | 236 | 225 | 207 | 250 | 320 | 204 | 225 | 106 | 83 | 145 | 79 | 122 | 124 | 180 | 183 | 207 | 188 | 220 | 206 | 53 | 42 | 45 | 0 | 0 | 0
| 7:25 | 37 | 225 | 187 | 189 | 226 | 230 | 232 | 223 | 210 | 236 | 314 | 200 | 208 | 110 | 91 | 146 | 86 | 129 | 128 | 170 | 175 | 209 | 196 | 221 | 203 | 51 | 44 | 62 | 0 | 0 | 0
| 7:38 | 37 | 223 | 177 | 195 | 217 | 233 | 230 | 223 | 201 | 236 | 321 | 201 | 221 | 103 | 88 | 144 | 85 | 123 | 128 | 176 | 171 | 217 | 204 | 215 | 206 | 47 | 53 | 56 | 0 | 0 | 0
| 7:51 | 37 | 223 | 190 | 193 | 219 | 241 | 237 | 228 | 207 | 244 | 330 | 208 | 217 | 109 | 90 | 150 | 90 | 131 | 134 | 163 | 175 | 206 | 191 | 219 | 203 | 47 | 33 | 50 | 0 | 0 | 0
Read 2:497,528
| Time | T° Read 2:497,528 | F12 | F13 | F14 | G12 | G13 | G14 | H12 | H13 | H14 | I12 | I13 | I14 | J12 | J13 | J14 | K12 | K13 | K14 | L12 | L13 | L14 | M12 | M13 | M14 | N12 | N13 | N14 | N15 | N16 | N17
| 0:06 | 37 | 5694 | 5481 | 5509 | 5904 | 6550 | 6004 | 8363 | 7545 | 10216 | 18375 | 9150 | 14954 | 4349 | 4104 | 5537 | 4250 | 5776 | 5341 | 3950 | 4640 | 5054 | 5739 | 5324 | 5262 | 4713 | 4849 | 5504 | 0 | 0 | 0
| 0:19 | 37 | 11585 | 11021 | 10418 | 12190 | 13724 | 12690 | 13125 | 12506 | 14175 | 26017 | 14484 | 20304 | 5321 | 4560 | 6448 | 4146 | 5551 | 5410 | 5278 | 5823 | 5952 | 5855 | 5479 | 5551 | 4692 | 4764 | 5329 | 0 | 0 | 0
| 0:32 | 37 | 15322 | 14400 | 14569 | 16402 | 18110 | 16994 | 16019 | 14794 | 16561 | 28889 | 16369 | 22243 | 6048 | 5140 | 7504 | 4138 | 5710 | 5461 | 7744 | 8458 | 8400 | 6278 | 6276 | 6159 | 4709 | 4834 | 5449 | 0 | 0 | 0
| 0:45 | 37 | 17691 | 16670 | 17148 | 18434 | 21320 | 19451 | 18954 | 17317 | 19310 | 31809 | 18333 | 23880 | 6972 | 5654 | 8264 | 4361 | 5648 | 5433 | 10522 | 11167 | 11332 | 6810 | 7252 | 6850 | 4830 | 4743 | 5562 | 0 | 0 | 0
| 0:58 | 37 | 19631 | 18880 | 18694 | 20711 | 23558 | 21544 | 22637 | 21205 | 25540 | 33817 | 20197 | 25707 | 7652 | 5829 | 9042 | 4216 | 6007 | 5606 | 12960 | 13670 | 14039 | 7632 | 8265 | 7826 | 4869 | 4758 | 5503 | 0 | 0 | 0
| 1:11 | 37 | 22043 | 21073 | 19941 | 23173 | 26865 | 24516 | 31739 | 28960 | 37268 | 36490 | 22411 | 27791 | 8261 | 6348 | 9751 | 4523 | 6168 | 5749 | 15299 | 15974 | 16534 | 8366 | 9594 | 9012 | 4814 | 4859 | 5538 | 0 | 0 | 0
| 1:24 | 37 | 26964 | 26423 | 21686 | 29006 | 34584 | 29242 | 36459 | 34094 | 40688 | 39211 | 26744 | 31433 | 9116 | 6913 | 10660 | 4657 | 6598 | 6062 | 19183 | 18413 | 19746 | 10383 | 12333 | 10228 | 4792 | 4653 | 5505 | 0 | 0 | 0
| 1:37 | 37 | 34982 | 32895 | 24175 | 35436 | 40121 | 36998 | 36964 | 34633 | 40317 | 44124 | 31326 | 35775 | 10250 | 7663 | 12242 | 4884 | 6841 | 6573 | 24017 | 23923 | 25335 | 14192 | 16252 | 12568 | 4920 | 4821 | 5586 | 0 | 0 | 0
| 1:50 | 37 | 37819 | 34395 | 25845 | 35690 | 40712 | 39065 | 36697 | 34340 | 40366 | 51255 | 33091 | 36963 | 11174 | 8447 | 13272 | 5262 | 7868 | 7150 | 27597 | 29184 | 30228 | 17943 | 19935 | 15327 | 5070 | 4884 | 5397 | 0 | 0 | 0
| 2:03 | 36.9 | 38304 | 34268 | 26388 | 35775 | 40813 | 38772 | 36944 | 34500 | 40233 | 54805 | 33182 | 36557 | 11711 | 8980 | 14574 | 5664 | 8891 | 7880 | 29393 | 31290 | 33007 | 20931 | 23175 | 18464 | 5069 | 4966 | 5696 | 0 | 0 | 0
| 2:16 | 37 | 38469 | 33690 | 26808 | 35748 | 40676 | 38855 | 36437 | 34196 | 40050 | 54527 | 32778 | 36510 | 11976 | 9526 | 15309 | 6089 | 9884 | 8397 | 29669 | 32146 | 33986 | 23292 | 25540 | 21259 | 5104 | 5040 | 5768 | 0 | 0 | 0
| 2:29 | 37 | 38212 | 33995 | 28186 | 35606 | 40549 | 38764 | 36969 | 34355 | 40299 | 54194 | 32691 | 36688 | 12633 | 10226 | 16363 | 6480 | 10917 | 9237 | 29879 | 32643 | 34347 | 25390 | 27179 | 23307 | 5241 | 5180 | 5584 | 0 | 0 | 0
| 2:42 | 37 | 37660 | 33591 | 28349 | 35487 | 40110 | 38436 | 37234 | 33979 | 39876 | 53948 | 33167 | 36228 | 13063 | 10448 | 16682 | 7098 | 12001 | 9936 | 29612 | 32331 | 34221 | 26417 | 28781 | 24534 | 5268 | 5192 | 5907 | 0 | 0 | 0
| 2:55 | 37 | 37699 | 33253 | 28978 | 35082 | 40586 | 38543 | 36874 | 34254 | 40119 | 54108 | 32743 | 36785 | 13259 | 10946 | 17331 | 7509 | 12557 | 10471 | 29864 | 32144 | 34183 | 27943 | 29761 | 26055 | 5336 | 5153 | 5749 | 0 | 0 | 0
| 3:08 | 37 | 37749 | 33334 | 29163 | 36143 | 40442 | 39278 | 36065 | 33883 | 40197 | 54374 | 32674 | 36111 | 13528 | 10957 | 17870 | 7926 | 12993 | 11346 | 29634 | 32537 | 34265 | 28653 | 30739 | 27960 | 5444 | 5206 | 5815 | 0 | 0 | 0
| 3:21 | 37 | 37714 | 32397 | 29420 | 35408 | 40463 | 38966 | 36870 | 33861 | 39824 | 53964 | 32795 | 37001 | 14145 | 11452 | 18345 | 8322 | 13712 | 11916 | 28993 | 32203 | 34018 | 29021 | 31634 | 28196 | 5454 | 5424 | 5891 | 0 | 0 | 0
| 3:34 | 37 | 37527 | 32613 | 29633 | 35303 | 40086 | 38637 | 36317 | 33941 | 39699 | 53661 | 32646 | 36697 | 14160 | 11603 | 18854 | 8547 | 14398 | 12594 | 29156 | 31961 | 33775 | 29989 | 32436 | 29337 | 5557 | 5517 | 5972 | 0 | 0 | 0
| 3:47 | 37 | 37631 | 32505 | 30267 | 35249 | 39947 | 38527 | 36790 | 33783 | 39838 | 53474 | 32235 | 35900 | 14397 | 11714 | 19069 | 9044 | 14900 | 13182 | 28641 | 31867 | 34319 | 30312 | 32588 | 30026 | 5796 | 5680 | 6063 | 0 | 0 | 0
| 4:00 | 37 | 38268 | 31965 | 30312 | 35979 | 40234 | 38115 | 36316 | 33770 | 38819 | 53364 | 32261 | 35744 | 14590 | 12154 | 19278 | 9579 | 15576 | 13726 | 28581 | 31924 | 34276 | 30470 | 32994 | 30682 | 5739 | 5645 | 6191 | 0 | 0 | 0
| 4:13 | 37 | 37368 | 32064 | 30223 | 34974 | 39632 | 38055 | 36724 | 33454 | 39602 | 53850 | 32528 | 36295 | 14844 | 12451 | 19660 | 9709 | 15971 | 14112 | 28518 | 31847 | 33672 | 30818 | 33704 | 31200 | 5840 | 5827 | 6097 | 0 | 0 | 0
| 4:26 | 37 | 37302 | 31452 | 30199 | 35612 | 39648 | 38224 | 36200 | 34233 | 39331 | 53146 | 32629 | 36273 | 14907 | 12519 | 19850 | 10366 | 16203 | 14438 | 29023 | 31346 | 33912 | 30884 | 33640 | 31209 | 6029 | 5838 | 6420 | 0 | 0 | 0
| 4:39 | 37 | 37224 | 31446 | 30615 | 35661 | 39499 | 38755 | 36353 | 33856 | 39292 | 53699 | 32932 | 35660 | 15256 | 12775 | 20447 | 10225 | 16791 | 15218 | 28408 | 31534 | 34197 | 31496 | 34123 | 31859 | 6137 | 5972 | 6379 | 0 | 0 | 0
| 4:52 | 37.1 | 37132 | 31246 | 30380 | 35086 | 39133 | 37718 | 36510 | 34185 | 39407 | 53986 | 32592 | 35964 | 15206 | 12815 | 21025 | 10758 | 17276 | 15532 | 28747 | 31047 | 34269 | 31586 | 34499 | 32157 | 5991 | 6055 | 6463 | 0 | 0 | 0
| 5:05 | 37 | 37113 | 30885 | 31042 | 35184 | 39244 | 38068 | 36090 | 33894 | 39036 | 53197 | 32723 | 36112 | 15742 | 13226 | 20845 | 11116 | 17877 | 15979 | 28149 | 31232 | 33934 | 31067 | 34147 | 32211 | 6238 | 6246 | 6533 | 0 | 0 | 0
| 5:18 | 37 | 37294 | 31103 | 30431 | 35305 | 39075 | 38153 | 36993 | 34140 | 39241 | 53637 | 32408 | 36247 | 16069 | 13074 | 21230 | 11546 | 18000 | 16486 | 28637 | 31095 | 33865 | 31823 | 34691 | 32603 | 6244 | 6205 | 6645 | 0 | 0 | 0
| 5:31 | 37 | 37127 | 30303 | 31188 | 34830 | 39600 | 38490 | 36395 | 33667 | 39391 | 53160 | 32344 | 36345 | 16151 | 13440 | 21761 | 11629 | 18257 | 17298 | 27896 | 31059 | 33476 | 31626 | 35150 | 32808 | 6375 | 6473 | 6783 | 0 | 0 | 0
| 5:44 | 37 | 37383 | 30264 | 31174 | 34748 | 39054 | 38119 | 36375 | 33806 | 39078 | 53201 | 32841 | 36468 | 16457 | 13630 | 22074 | 12027 | 18851 | 17354 | 27825 | 30364 | 34068 | 31832 | 34822 | 33058 | 6620 | 6487 | 6718 | 0 | 0 | 0
| 5:57 | 37 | 37073 | 30523 | 31463 | 35463 | 39487 | 37568 | 36689 | 33714 | 39102 | 53103 | 32565 | 35801 | 16495 | 13768 | 21957 | 12137 | 18605 | 17988 | 27973 | 30454 | 34345 | 31580 | 34795 | 33051 | 6608 | 6628 | 6893 | 0 | 0 | 0
| 6:10 | 37 | 36949 | 30041 | 31462 | 35609 | 39880 | 38219 | 36795 | 33661 | 38887 | 53570 | 32779 | 35552 | 16321 | 13626 | 22417 | 12487 | 19198 | 18055 | 27513 | 30354 | 33589 | 31823 | 35624 | 32830 | 6517 | 6781 | 7065 | 0 | 0 | 0
| 6:23 | 37 | 36643 | 29562 | 31189 | 34792 | 38695 | 37861 | 36796 | 33670 | 38895 | 52661 | 32395 | 35842 | 16760 | 14085 | 22337 | 12619 | 19216 | 18941 | 27500 | 30426 | 34377 | 31141 | 35382 | 32967 | 6821 | 6820 | 7070 | 0 | 0 | 0
| 6:36 | 37 | 36677 | 29937 | 31004 | 34705 | 39485 | 37860 | 36500 | 33991 | 39089 | 53746 | 32509 | 36330 | 17096 | 13963 | 22841 | 13006 | 19708 | 18742 | 27333 | 30291 | 33920 | 31823 | 35466 | 33054 | 6881 | 7054 | 7071 | 0 | 0 | 0
| 6:49 | 37 | 36759 | 29586 | 31236 | 35387 | 39216 | 37647 | 36437 | 33566 | 38679 | 53010 | 32346 | 35865 | 16883 | 14319 | 22908 | 12936 | 19779 | 19015 | 27774 | 29919 | 34297 | 31413 | 36062 | 32903 | 6996 | 7218 | 7209 | 0 | 0 | 0
| 7:02 | 37 | 36487 | 29453 | 31814 | 35150 | 38247 | 37767 | 36409 | 33830 | 39069 | 52825 | 32411 | 36417 | 17132 | 14397 | 23127 | 13362 | 19995 | 19477 | 27044 | 29687 | 34358 | 31610 | 35840 | 33186 | 7197 | 7353 | 7327 | 0 | 0 | 0
| 7:15 | 37 | 36162 | 29297 | 31689 | 34970 | 38713 | 37891 | 36693 | 33590 | 38941 | 52877 | 32474 | 36060 | 17493 | 14514 | 23467 | 13528 | 20324 | 20083 | 27151 | 29847 | 33960 | 31570 | 36063 | 33134 | 7307 | 7374 | 7434 | 0 | 0 | 0
| 7:28 | 37 | 36109 | 28770 | 31657 | 34810 | 38294 | 38065 | 36212 | 34010 | 38889 | 52999 | 32354 | 36342 | 17474 | 14654 | 23590 | 13838 | 20349 | 20493 | 27373 | 29288 | 34455 | 31604 | 35798 | 33445 | 7361 | 7769 | 7669 | 0 | 0 | 0
| 7:41 | 37 | 36101 | 28709 | 31411 | 34539 | 37975 | 37879 | 37126 | 33869 | 39406 | 52264 | 32539 | 35397 | 17778 | 14715 | 23743 | 13518 | 20493 | 20589 | 26927 | 29407 | 33946 | 31576 | 35931 | 33401 | 7441 | 7885 | 7626 | 0 | 0 | 0
| 7:54 | 37 | 36194 | 29119 | 31090 | 34641 | 38259 | 37484 | 36551 | 33682 | 39150 | 52388 | 32380 | 35946 | 17883 | 15107 | 23990 | 14051 | 21045 | 21002 | 26676 | 29250 | 34609 | 31421 | 36372 | 32613 | 7503 | 8045 | 7830 | 0 | 0 | 0
Read 2:497,528[2]
| Time | T° Read 2:497,528[2] | F12 | F13 | F14 | G12 | G13 | G14 | H12 | H13 | H14 | I12 | I13 | I14 | J12 | J13 | J14 | K12 | K13 | K14 | L12 | L13 | L14 | M12 | M13 | M14 | N12 | N13 | N14 | N15 | N16 | N17
| 0:09 | 37 | 791 | 792 | 747 | 850 | 922 | 869 | 1165 | 1100 | 1370 | 2614 | 1347 | 2084 | 536 | 522 | 680 | 515 | 670 | 644 | 496 | 599 | 621 | 667 | 630 | 638 | 554 | 581 | 675 | 0 | 0 | 0
| 0:22 | 37 | 1509 | 1425 | 1398 | 1582 | 1773 | 1663 | 1666 | 1567 | 1734 | 3239 | 1813 | 2461 | 662 | 567 | 798 | 518 | 651 | 679 | 704 | 792 | 770 | 681 | 679 | 672 | 563 | 584 | 656 | 0 | 0 | 0
| 0:35 | 37 | 1897 | 1772 | 1824 | 2007 | 2289 | 2121 | 1977 | 1852 | 2058 | 3527 | 2021 | 2722 | 758 | 612 | 887 | 514 | 709 | 654 | 992 | 1073 | 1078 | 770 | 767 | 754 | 583 | 583 | 655 | 0 | 0 | 0
| 0:48 | 37 | 2174 | 2035 | 2113 | 2261 | 2577 | 2365 | 2356 | 2178 | 2417 | 3821 | 2217 | 2913 | 874 | 692 | 1008 | 519 | 698 | 663 | 1304 | 1395 | 1428 | 848 | 863 | 843 | 595 | 559 | 649 | 0 | 0 | 0
| 1:01 | 37 | 2428 | 2318 | 2247 | 2531 | 2932 | 2702 | 2918 | 2725 | 3310 | 4161 | 2465 | 3208 | 911 | 741 | 1093 | 527 | 704 | 681 | 1616 | 1708 | 1786 | 947 | 1030 | 973 | 598 | 591 | 665 | 0 | 0 | 0
| 1:14 | 37 | 2717 | 2681 | 2474 | 2881 | 3326 | 2970 | 4034 | 3646 | 4689 | 4473 | 2806 | 3381 | 1022 | 796 | 1205 | 537 | 733 | 695 | 1907 | 2025 | 2061 | 1062 | 1170 | 1102 | 586 | 589 | 658 | 0 | 0 | 0
| 1:27 | 37 | 3490 | 3415 | 2637 | 3718 | 4279 | 3779 | 4408 | 4131 | 4818 | 4807 | 3390 | 3887 | 1124 | 844 | 1291 | 563 | 788 | 759 | 2424 | 2378 | 2565 | 1321 | 1552 | 1309 | 578 | 583 | 642 | 0 | 0 | 0
| 1:40 | 37 | 4419 | 4037 | 2957 | 4337 | 4881 | 4508 | 4441 | 4145 | 4845 | 5602 | 3907 | 4382 | 1244 | 949 | 1511 | 615 | 862 | 787 | 3024 | 3023 | 3178 | 1793 | 2062 | 1565 | 605 | 599 | 683 | 0 | 0 | 0
| 1:53 | 37 | 4585 | 4055 | 3102 | 4285 | 4880 | 4668 | 4410 | 4122 | 4840 | 6270 | 3975 | 4405 | 1341 | 1041 | 1598 | 640 | 961 | 867 | 3334 | 3570 | 3760 | 2252 | 2478 | 1937 | 607 | 597 | 659 | 0 | 0 | 0
| 2:06 | 36.9 | 4608 | 4092 | 3207 | 4320 | 4858 | 4721 | 4408 | 4116 | 4827 | 6486 | 3999 | 4319 | 1420 | 1098 | 1735 | 710 | 1092 | 971 | 3539 | 3817 | 3993 | 2587 | 2862 | 2258 | 609 | 602 | 669 | 0 | 0 | 0
| 2:19 | 37 | 4592 | 4092 | 3247 | 4308 | 4876 | 4647 | 4388 | 4054 | 4781 | 6485 | 3958 | 4473 | 1484 | 1157 | 1833 | 767 | 1208 | 1046 | 3506 | 3822 | 4045 | 2849 | 3122 | 2578 | 616 | 610 | 676 | 0 | 0 | 0
| 2:32 | 37 | 4558 | 4010 | 3385 | 4270 | 4915 | 4706 | 4461 | 4084 | 4794 | 6548 | 3994 | 4368 | 1497 | 1210 | 1929 | 797 | 1333 | 1123 | 3553 | 3882 | 4089 | 3035 | 3304 | 2816 | 626 | 608 | 689 | 0 | 0 | 0
| 2:45 | 37 | 4543 | 4005 | 3472 | 4333 | 4859 | 4640 | 4419 | 4073 | 4766 | 6620 | 4011 | 4371 | 1567 | 1268 | 2044 | 864 | 1429 | 1189 | 3575 | 3870 | 4051 | 3257 | 3485 | 3036 | 635 | 628 | 699 | 0 | 0 | 0
| 2:58 | 37 | 4614 | 3962 | 3431 | 4344 | 4815 | 4691 | 4413 | 4124 | 4816 | 6474 | 3898 | 4382 | 1586 | 1291 | 2119 | 900 | 1478 | 1305 | 3564 | 3919 | 4156 | 3357 | 3662 | 3158 | 631 | 634 | 710 | 0 | 0 | 0
| 3:11 | 37 | 4538 | 3929 | 3458 | 4310 | 4829 | 4698 | 4471 | 4065 | 4763 | 6501 | 3992 | 4358 | 1634 | 1343 | 2126 | 957 | 1607 | 1386 | 3552 | 3876 | 4101 | 3465 | 3720 | 3321 | 652 | 646 | 720 | 0 | 0 | 0
| 3:24 | 37 | 4568 | 3924 | 3558 | 4253 | 4842 | 4611 | 4418 | 4057 | 4784 | 6498 | 3915 | 4350 | 1671 | 1368 | 2176 | 991 | 1670 | 1455 | 3531 | 3868 | 4098 | 3517 | 3793 | 3428 | 650 | 662 | 692 | 0 | 0 | 0
| 3:37 | 37 | 4548 | 3901 | 3572 | 4223 | 4824 | 4637 | 4407 | 4103 | 4735 | 6464 | 3923 | 4392 | 1727 | 1393 | 2253 | 1057 | 1751 | 1486 | 3492 | 3835 | 4105 | 3577 | 3875 | 3541 | 673 | 657 | 727 | 0 | 0 | 0
| 3:50 | 37 | 4557 | 3872 | 3597 | 4218 | 4736 | 4577 | 4410 | 4049 | 4695 | 6521 | 3982 | 4347 | 1720 | 1479 | 2311 | 1106 | 1828 | 1595 | 3480 | 3823 | 4109 | 3610 | 3941 | 3635 | 682 | 683 | 747 | 0 | 0 | 0
| 4:03 | 37 | 4460 | 3886 | 3613 | 4223 | 4788 | 4593 | 4379 | 4052 | 4660 | 6449 | 3875 | 4327 | 1776 | 1443 | 2284 | 1137 | 1891 | 1666 | 3495 | 3798 | 4082 | 3682 | 3970 | 3699 | 698 | 693 | 730 | 0 | 0 | 0
| 4:16 | 37 | 4491 | 3817 | 3614 | 4273 | 4775 | 4609 | 4369 | 4013 | 4687 | 6458 | 3908 | 4358 | 1800 | 1489 | 2372 | 1202 | 1941 | 1714 | 3450 | 3783 | 4095 | 3681 | 3987 | 3747 | 688 | 717 | 757 | 0 | 0 | 0
| 4:29 | 37 | 4470 | 3819 | 3621 | 4233 | 4818 | 4608 | 4347 | 4081 | 4767 | 6421 | 3875 | 4330 | 1818 | 1504 | 2437 | 1238 | 1993 | 1808 | 3405 | 3802 | 4136 | 3719 | 4015 | 3799 | 735 | 710 | 767 | 0 | 0 | 0
| 4:42 | 37 | 4500 | 3744 | 3653 | 4182 | 4757 | 4615 | 4377 | 4077 | 4796 | 6436 | 3921 | 4342 | 1797 | 1537 | 2470 | 1272 | 2062 | 1865 | 3518 | 3739 | 4114 | 3794 | 4117 | 3871 | 709 | 735 | 752 | 0 | 0 | 0
| 4:55 | 37.1 | 4426 | 3715 | 3667 | 4255 | 4665 | 4583 | 4389 | 4081 | 4732 | 6516 | 3924 | 4350 | 1872 | 1521 | 2515 | 1322 | 2097 | 1912 | 3418 | 3743 | 4113 | 3748 | 4136 | 3881 | 736 | 744 | 779 | 0 | 0 | 0
| 5:08 | 37 | 4496 | 3719 | 3698 | 4184 | 4706 | 4577 | 4372 | 4035 | 4779 | 6424 | 3830 | 4335 | 1902 | 1558 | 2512 | 1330 | 2102 | 1962 | 3389 | 3759 | 4113 | 3723 | 4150 | 3848 | 773 | 748 | 784 | 0 | 0 | 0
| 5:21 | 37 | 4491 | 3685 | 3674 | 4252 | 4688 | 4549 | 4344 | 4108 | 4770 | 6391 | 3917 | 4344 | 1901 | 1569 | 2558 | 1388 | 2172 | 2019 | 3386 | 3664 | 4118 | 3779 | 4158 | 3934 | 756 | 750 | 824 | 0 | 0 | 0
| 5:34 | 37 | 4425 | 3683 | 3737 | 4241 | 4688 | 4616 | 4388 | 4049 | 4761 | 6427 | 3925 | 4332 | 1902 | 1614 | 2630 | 1414 | 2231 | 2071 | 3362 | 3730 | 4132 | 3802 | 4210 | 3887 | 746 | 786 | 801 | 0 | 0 | 0
| 5:47 | 37 | 4414 | 3603 | 3737 | 4182 | 4696 | 4597 | 4384 | 4044 | 4691 | 6431 | 3864 | 4322 | 1930 | 1638 | 2657 | 1422 | 2231 | 2108 | 3310 | 3675 | 4075 | 3843 | 4266 | 3964 | 799 | 807 | 805 | 0 | 0 | 0
| 6:00 | 37 | 4387 | 3642 | 3739 | 4191 | 4721 | 4545 | 4397 | 4034 | 4714 | 6360 | 3895 | 4370 | 1956 | 1653 | 2659 | 1454 | 2312 | 2156 | 3344 | 3725 | 4085 | 3807 | 4290 | 3971 | 788 | 797 | 816 | 0 | 0 | 0
| 6:13 | 37 | 4391 | 3578 | 3748 | 4227 | 4713 | 4641 | 4462 | 4047 | 4738 | 6440 | 3927 | 4366 | 2006 | 1662 | 2670 | 1491 | 2306 | 2219 | 3271 | 3672 | 4032 | 3850 | 4303 | 3972 | 799 | 845 | 849 | 0 | 0 | 0
| 6:26 | 37 | 4355 | 3576 | 3694 | 4181 | 4667 | 4610 | 4375 | 4094 | 4691 | 6307 | 3926 | 4298 | 2024 | 1665 | 2713 | 1526 | 2359 | 2255 | 3357 | 3623 | 4050 | 3814 | 4294 | 3967 | 830 | 844 | 866 | 0 | 0 | 0
| 6:39 | 37 | 4382 | 3549 | 3766 | 4138 | 4672 | 4507 | 4424 | 4050 | 4681 | 6334 | 3939 | 4333 | 2081 | 1710 | 2745 | 1541 | 2348 | 2270 | 3287 | 3600 | 4090 | 3776 | 4297 | 3982 | 844 | 855 | 878 | 0 | 0 | 0
| 6:52 | 37 | 4392 | 3507 | 3775 | 4199 | 4700 | 4511 | 4358 | 4110 | 4716 | 6361 | 3924 | 4355 | 2042 | 1773 | 2738 | 1560 | 2388 | 2364 | 3312 | 3588 | 4020 | 3768 | 4311 | 3986 | 851 | 889 | 894 | 0 | 0 | 0
| 7:05 | 37 | 4411 | 3579 | 3772 | 4195 | 4646 | 4568 | 4424 | 4050 | 4659 | 6341 | 3923 | 4316 | 2031 | 1720 | 2779 | 1598 | 2419 | 2380 | 3275 | 3589 | 4083 | 3793 | 4267 | 3933 | 873 | 881 | 864 | 0 | 0 | 0
| 7:18 | 37 | 4356 | 3523 | 3811 | 4212 | 4684 | 4537 | 4435 | 4075 | 4739 | 6425 | 3918 | 4308 | 2065 | 1774 | 2795 | 1625 | 2441 | 2432 | 3300 | 3588 | 4034 | 3811 | 4317 | 3962 | 886 | 936 | 902 | 0 | 0 | 0
| 7:31 | 37 | 4385 | 3537 | 3747 | 4209 | 4628 | 4501 | 4398 | 3995 | 4689 | 6298 | 3914 | 4268 | 2167 | 1789 | 2836 | 1618 | 2496 | 2483 | 3262 | 3577 | 4103 | 3760 | 4345 | 4031 | 905 | 925 | 937 | 0 | 0 | 0
| 7:44 | 37 | 4330 | 3459 | 3744 | 4222 | 4653 | 4521 | 4372 | 4083 | 4711 | 6326 | 3906 | 4296 | 2137 | 1805 | 2825 | 1683 | 2449 | 2496 | 3248 | 3563 | 4132 | 3780 | 4330 | 3972 | 896 | 959 | 909 | 0 | 0 | 0
| 7:57 | 37 | 4366 | 3465 | 3806 | 4195 | 4649 | 4495 | 4385 | 4082 | 4607 | 6354 | 3934 | 4309 | 2159 | 1795 | 2920 | 1676 | 2483 | 2567 | 3231 | 3471 | 4134 | 3792 | 4345 | 4014 | 917 | 971 | 960 | 0 | 0 | 0